## benefit_risk_ledger
br_id | benefit_statement | supporting_claim_ids | supporting_evidence_ids | sota_ids | key_risk_ids | risk_controls | residual_gap_ids | pmcf_ids | pre_submission_required | pmcf_allowed | claim_downgrade_required | alignment_ids | alignment_status_summary | alignment_writer_instruction | magnitude_of_benefit | severity_of_risk | benefit_evidence_basis | risk_evidence_basis | evidence_strength | benefit_evidence_quality_tier | risk_evidence_quality_tier | uncertainty_level | benefit_risk_balance | device_class_taxonomy | device_class_br_policy | regulatory_reasoning_basis | calibration_generalization_basis | conclusion_guard_result | conclusion_guard_instruction | balance_rationale | overall_judgment | allowed_wording | not_allowed_wording | cer_section_ids | rationale | conclusion
BR-001 | The Bubble Study System is used in conjunction with Disposable Masks and Disposable Contrast Injection Tubing Set for the preparation and injection of agitated saline during bubble study procedures for transthoracic echocardiographic contrast imaging or contrast-enhanced transcranial Doppler ultrasound imaging. The NIBP module monitors patient pulse and non-invasive blood pressure. | C-01 | evidence gap | BM-09 | R-001, R-002, R-003 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-001-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-09; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-09; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-09; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-002 | Risks associated with agitated-saline preparation and injection, disposable tubing use, contrast-bubble administration, patient cooperation, and monitoring are acceptable when controlled by IFU warnings, contraindications, risk controls, and PMS/PMCF. | C-02 | E-005 | BM-10 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-002-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | E-005:supportive | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | weak_supportive | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: E-005:supportive. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: weak_supportive. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: E-005:supportive. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: weak_supportive. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-003 | The system supports reproducible preparation and injection of agitated saline to obtain clinically interpretable c-TTE or c-TCD bubble-study results under the IFU-defined use conditions. | C-03 | evidence gap | BM-11 | R-001, R-002, R-003 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-003-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-11; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-11; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-11; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-004 | The system prepares and injects agitated saline in a controlled, repeatable manner to support bubble-study contrast generation. | C-PERF-01 | evidence gap | BM-04 | R-001, R-002, R-003 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-004-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-04; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-04; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-04; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-005 | The system enables adequate contrast-bubble opacification and procedure completion for c-TTE and/or c-TCD bubble-study assessment. | C-PERF-02 | evidence gap | BM-01 | R-001, R-002, R-003 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-005-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-01; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-01; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-01; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-006 | RLS/PFO detection and semi-quantitative shunt grading using the IFU-defined workflow are clinically interpretable against accepted bubble-study diagnostic pathways. | C-PERF-03 | evidence gap | BM-02, BM-03 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-006-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-02, BM-03; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-02, BM-03; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-02, BM-03; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-007 | Injection-related adverse events, microbubble administration risks, and patient monitoring risks are controlled to acceptable levels through IFU instructions and risk controls. | C-SAFE-01 | E-005 | BM-06 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-007-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | E-005:supportive | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | weak_supportive | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: E-005:supportive. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: weak_supportive. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: E-005:supportive. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: weak_supportive. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-008 | Single-use contrast injection tubing and related disposable components control contamination, reuse, and performance-degradation risks when used as instructed. | C-SAFE-02 | E-005 | BM-08 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-008-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | E-005:supportive | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | weak_supportive | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: E-005:supportive. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: weak_supportive. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: semi-quantitative: possible benefit supported by weak/supportive evidence; numeric magnitude not established.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: E-005:supportive. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: weak_supportive. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-009 | The system supports clinical assessment of suspected right-to-left shunt or patent foramen ovale by standardizing agitated-saline bubble-study workflow. | C-BEN-01 | evidence gap | BM-05, BM-07 | R-001, R-002, R-003 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-009-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-05, BM-07; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-05, BM-07; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-05, BM-07; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-010 | Automated or controlled agitated-saline preparation may reduce manual variability, with the clinical conclusion limited to the strength of available evidence. | C-BEN-02 | evidence gap | BM-12 | R-001, R-002, R-003 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-010-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-12; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-12; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-12; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-011 | Patients with severe cardiac, hepatic, renal, or pulmonary impairment; malignant tumors; hematological or autoimmune diseases; | C-04 | evidence gap | BM-13 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-011-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-13; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-13; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-13; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-012 | Patients unable to cooperate with the examination due to consciousness or cognitive disorders; | C-05 | evidence gap | BM-14 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-012-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-14; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-14; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-14; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-013 | Patients with carotid artery stenosis, congenital intracranial segment vertebral artery (VA) dysplasia, or those without a temporal window and unable to locate the unilateral middle cerebral artery (MCA); | C-06 | evidence gap | BM-15 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-013-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-15; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-15; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-15; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.
BR-014 | Pregnant or lactating women. | C-07 | evidence gap | BM-16 | R-001, R-002, R-003, R-004 | IFU-covered risks: 4; RMF non-gap rows: 4; total risk rows: 4 | GAP-INPUT-EQUIVALENCE | GAP-INPUT-EQUIVALENCE | conditional_before_submission_based_on_evaluator_materiality | allowed_with_conditions_after_source_traceability_review | qualification_required_until_gap_materiality_confirmed | ALIGN-014-04 | CER↔PMCF=aligned | PMCF is aligned for controlled draft wording; keep source trace visible. | not quantified: benefit magnitude remains an evidence gap. | semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction | Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-16; full endpoint support requires extraction. | R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified | insufficient | Tier 4 (Insufficient) | Tier 4 (Insufficient) | high: conflict blocks favourable benefit-risk wording | not_established_due_to_alignment_or_evidence_conflict | disposable_physical_device | Require IFU/RMF risk closure, sterility/material/procedure-risk controls and source-reported clinical or SOTA support; do not write unqualified final favourable benefit-risk wording from supportive-only evidence. | MDR Annex I GSPR 1 requires benefits to outweigh known and foreseeable risks under intended conditions of use; conclusion strength must follow clinical evidence strength, risk-control closure and residual uncertainty. | Generalized from CAL-001/CAL-002/CAL-003 BR gap patterns; HOLD-002 is reserved as validation signal and is not used as rule-design gold reference. | blocks_unqualified_br_conclusion | Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-16; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. | not sufficiently supported | benefit-risk conclusion is not sufficiently supported; do not write favourable final conclusion | comparative better-than wording; absolute proof wording; absolute certainty wording; absolute risk acceptability wording; unqualified favourable benefit-risk wording; unqualified final benefit-risk wording from supportive-only evidence for disposable physical devices | 4.7.1, 4.7.2, 4.7.3, 5 | Benefit magnitude: not quantified: benefit magnitude remains an evidence gap.. Risk severity: semi-quantitative ordinal severity: to be confirmed from RMF or clinical literature; occurrence/frequency: requires endpoint/vigilance extraction. Benefit evidence basis: Evidence basis limited to matrix IDs evidence=evidence gap benchmark=BM-16; full endpoint support requires extraction.. Risk evidence basis: R-001: IFU=covered by IFU source text, RMF=requires RMF source review; R-002: IFU=covered by IFU source text, RMF=requires RMF source review; R-003: IFU=covered by IFU source text, RMF=requires RMF source review; R-004: IFU=covered by IFU source text, RMF=requires RMF source review; VSTAT-001: relevant=10356345; VSTAT-002: relevant=21619; VSTAT-003: relevant=not quantified; VSTAT-004: relevant=not quantified. Evidence strength: insufficient. Alignment: CER↔PMCF=aligned. Residual uncertainty: high: conflict blocks favourable benefit-risk wording. Balance: not_established_due_to_alignment_or_evidence_conflict. PMCF boundary: GAP-INPUT-EQUIVALENCE: pre-submission: The gap requires evaluator triage because its impact depends on the affected claim and the availability of alternative source evidence.; PMCF: PMCF may be used only if the gap is a residual unanswered question rather than missing evidence for a core pre-submission claim.; claim downgrade: The claim must remain qualified until the evaluator confirms whether the gap is material to the intended purpose or benefit-risk conclusion. Device-class BR guard: Do not write a favourable final benefit-risk conclusion; hold, downgrade or route to source repair. | Benefit-risk conclusion is ledger-controlled before writer output.