## cross_evidence_synthesis_table
synthesis_id | claim_id | claim_text | endpoint_ids | benchmark_ids | evidence_ids | pivotal_evidence_ids | supportive_evidence_ids | evidence_count | evidence_strength | sample_size_summary | follow_up_summary | result_synthesis | consistency_assessment | limitation_synthesis | benefit_risk_link | allowed_conclusion_strength | writer_instruction | section_4_use | conclusion
CES-001 | C-01 | The Bubble Study System is used in conjunction with Disposable Masks and Disposable Contrast Injection Tubing Set for the preparation and injection of agitated saline during bubble study procedures for transthoracic echocardiographic contrast imaging or contrast-enhanced transcranial Doppler ultrasound imaging. The NIBP module monitors patient pulse and non-invasive blood pressure. | endpoint gap | BM-09 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-001 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-002 | C-02 | Risks associated with agitated-saline preparation and injection, disposable tubing use, contrast-bubble administration, patient cooperation, and monitoring are acceptable when controlled by IFU warnings, contraindications, risk controls, and PMS/PMCF. | endpoint gap | BM-10 | E-005 | none | E-005 | 1 | weak_supportive | sample size not consistently extracted | follow-up/timepoint not consistently extracted | Appraised record `Patent foramen ovale and paradoxical systemic embolism: a bibliographic review.`; sample size: not reported in source; follow-up/timepoint: not reported in source; statistical adequacy: requires_full_text_or_source_endpoint_table. | Evidence is weak or unmatched to endpoint derivation; keep conclusion limited. | sample size not extracted; follow-up/timepoint not extracted; population applicability low | BR-002 | not_allowed | Do not use article-by-article summaries as proof; state the evidence limitation. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-003 | C-03 | The system supports reproducible preparation and injection of agitated saline to obtain clinically interpretable c-TTE or c-TCD bubble-study results under the IFU-defined use conditions. | endpoint gap | BM-11 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-003 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-004 | C-PERF-01 | The system prepares and injects agitated saline in a controlled, repeatable manner to support bubble-study contrast generation. | endpoint gap | BM-04 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-004 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-005 | C-PERF-02 | The system enables adequate contrast-bubble opacification and procedure completion for c-TTE and/or c-TCD bubble-study assessment. | endpoint gap | BM-01 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-005 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-006 | C-PERF-03 | RLS/PFO detection and semi-quantitative shunt grading using the IFU-defined workflow are clinically interpretable against accepted bubble-study diagnostic pathways. | endpoint gap | BM-02, BM-03 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-006 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-007 | C-SAFE-01 | Injection-related adverse events, microbubble administration risks, and patient monitoring risks are controlled to acceptable levels through IFU instructions and risk controls. | endpoint gap | BM-06 | E-005 | none | E-005 | 1 | weak_supportive | sample size not consistently extracted | follow-up/timepoint not consistently extracted | Appraised record `Patent foramen ovale and paradoxical systemic embolism: a bibliographic review.`; sample size: not reported in source; follow-up/timepoint: not reported in source; statistical adequacy: requires_full_text_or_source_endpoint_table. | Evidence is weak or unmatched to endpoint derivation; keep conclusion limited. | sample size not extracted; follow-up/timepoint not extracted; population applicability low | BR-007 | not_allowed | Do not use article-by-article summaries as proof; state the evidence limitation. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-008 | C-SAFE-02 | Single-use contrast injection tubing and related disposable components control contamination, reuse, and performance-degradation risks when used as instructed. | endpoint gap | BM-08 | E-005 | none | E-005 | 1 | weak_supportive | sample size not consistently extracted | follow-up/timepoint not consistently extracted | Appraised record `Patent foramen ovale and paradoxical systemic embolism: a bibliographic review.`; sample size: not reported in source; follow-up/timepoint: not reported in source; statistical adequacy: requires_full_text_or_source_endpoint_table. | Evidence is weak or unmatched to endpoint derivation; keep conclusion limited. | sample size not extracted; follow-up/timepoint not extracted; population applicability low | BR-008 | not_allowed | Do not use article-by-article summaries as proof; state the evidence limitation. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-009 | C-BEN-01 | The system supports clinical assessment of suspected right-to-left shunt or patent foramen ovale by standardizing agitated-saline bubble-study workflow. | endpoint gap | BM-05, BM-07 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-009 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-010 | C-BEN-02 | Automated or controlled agitated-saline preparation may reduce manual variability, with the clinical conclusion limited to the strength of available evidence. | endpoint gap | BM-12 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-010 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-011 | C-04 | Patients with severe cardiac, hepatic, renal, or pulmonary impairment; malignant tumors; hematological or autoimmune diseases; | endpoint gap | BM-13 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-011 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-012 | C-05 | Patients unable to cooperate with the examination due to consciousness or cognitive disorders; | endpoint gap | BM-14 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-012 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-013 | C-06 | Patients with carotid artery stenosis, congenital intracranial segment vertebral artery (VA) dysplasia, or those without a temporal window and unable to locate the unilateral middle cerebral artery (MCA); | endpoint gap | BM-15 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-013 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.
CES-014 | C-07 | Pregnant or lactating women. | endpoint gap | BM-16 | evidence gap | none | none | 0 | insufficient | sample size not consistently extracted | follow-up/timepoint not consistently extracted | No quantitative result can be synthesized without full-text endpoint extraction. | No included evidence available for consistency assessment. | Evidence gap; clinical conclusion cannot be upgraded. | BR-014 | not_allowed | Write an evidence-gap paragraph and route missing evidence to PMCF/source request. | 4.5 Summary/Appraisal and 4.7 GSPR analysis | Cross-evidence synthesis controls the section 4 narrative before individual-article summaries are used.