## hazard_source_table
row_id | hazard_source | hazard_family | risk_trace_link | ifu_rmf_link | sota_use | conclusion
HZ-001 | disease / medical condition | urological endoscopy procedural complications | Risk Trace Matrix | IFU/RMF/PMS coverage required; gap if source absent | risk identification and acceptable safety benchmark | Hazard source must be closed in section 4.7 safety and GSPR 8 side-effects.
HZ-002 | procedure / access route | insertion, access, manipulation, procedure interruption and operator workflow | Risk Trace Matrix | IFU/RMF/PMS coverage required; gap if source absent | risk identification and acceptable safety benchmark | Hazard source must be closed in section 4.7 safety and GSPR 8 side-effects.
HZ-003 | materials / energy / technology | patient-contact material, sterility, electrical/energy or imaging technology as applicable | Risk Trace Matrix | IFU/RMF/PMS coverage required; gap if source absent | risk identification and acceptable safety benchmark | Hazard source must be closed in section 4.7 safety and GSPR 8 side-effects.
HZ-004 | similar devices / similar procedures | published complications, vigilance and recall records | Risk Trace Matrix | IFU/RMF/PMS coverage required; gap if source absent | risk identification and acceptable safety benchmark | Hazard source must be closed in section 4.7 safety and GSPR 8 side-effects.
HZ-005 | foreseeable use error | wrong patient, wrong accessory, incorrect setup, insufficient warning adherence | Risk Trace Matrix | IFU/RMF/PMS coverage required; gap if source absent | risk identification and acceptable safety benchmark | Hazard source must be closed in section 4.7 safety and GSPR 8 side-effects.