## similar_device_four_step_confir
row_id | step | subject_device | source | execution_record | required_evidence | status | conclusion
SIM-STEP-001 | Step 1 - European market verification | Bubble Study System | EUDAMED public device/module search | https://ec.europa.eu/tools/eudamed/#/screen/search-device?q=Bubble+Study+System | EUDAMED public record, EU distributor/manufacturer website, market report or equivalent market evidence. | source_limited | Market status must be confirmed before similar devices are used as benchmark market evidence.
SIM-STEP-002 | Step 2 - Trade name and manufacturer identification | Bubble Study System | FDA 510(k), AccessGUDID, EUDAMED public device/module search | FDA 510(k), AccessGUDID, EUDAMED and source package records are searched where available. | Confirmed trade names, manufacturer names and model identifiers for subject/similar/equivalent devices. | first_pass_recorded | Trade-name confirmation is required before §4.4 device literature and §4.6 vigilance searches are finalized.
SIM-STEP-003 | Step 3 - Technical parameter comparison | Bubble Study System | equivalence_matrix | EQ-01 | Dimensions, materials, patient-contact nature/duration, energy/function, performance parameters, compatibility and sterilisation/biocompatibility evidence. | conditional | Technical comparison remains conditional unless source specifications and difference-impact conclusions are complete.
SIM-STEP-004 | Step 4 - Attachment package index | Bubble Study System | similar_device_attachment_index | Attachment rows generated for 510(k), specifications, market report, IFU/manual, screenshots and clinical evidence sources. | 10+N attachment package where applicable. | generated_request | Missing attachments become human source requests and may not be replaced by unsupported narrative.