## sota_deduction_chain
row_id | step_number | logic_question | why | how | source_basis | output_artifact | conclusion_control
SOTA-STEP-001 | 1 | Why this clinical problem? | The IFU positions the device in right-to-left shunt and patent foramen ovale assessment using agitated-saline ultrasound contrast bubble-study procedures; the clinical evaluation must therefore address the disease/procedure need, accepted clinical pathway and unmet limitations before judging the device. | Device role is anchored to intended purpose `The Bubble Study System is used in conjunction with Disposable Masks and Disposable Contrast Injection Tubing Set for the preparation and injection of agitated saline during bubble study procedures for transthoracic echocardiographic contrast imaging or contrast-enhanced transcranial Doppler ultrasound imaging. The NIBP module monitors patient pulse and non-invasive blood pressure.` and comparator pathway `manual agitated-saline preparation/injection, standard contrast echocardiography, contrast-enhanced transcranial Doppler workflow, and accepted RLS/PFO diagnostic pathways`. | Device Profile, IFU-derived Claim Ledger, alternative treatment table, guideline pathway table | SOTA clinical background and alternative treatment benchmark table | The CER may claim only that the device addresses the IFU-defined clinical problem; it must not claim disease superiority from background discussion.
SOTA-STEP-002 | 2 | Why search this way? | Search terms are derived from the clinical problem and PICO, not from a generic desire to collect literature. | SOTA search records: 7; databases are used to reduce publication/source bias and limitation-recorded when unavailable. | LSP profile, SOTA PICO strategy, database search source table, protocol deviation log | Reproducible SOTA search strategy and PRISMA flow | Unavailable Embase/Cochrane/full-text sources are protocol limitations, not zero evidence.
SOTA-STEP-003 | 3 | Why include or exclude these literatures? | SOTA synthesis must be filtered by suitability, contribution and evidence hierarchy so low-relevance records do not define acceptance criteria. | Screening/appraisal rows available: 285; high-quality records should be tagged as guideline/systematic review/meta-analysis/RCT/registry where applicable. | SOTA screening disposition, SOTA CK appraisal, article appraisal, evidence registry | High-weight SOTA evidence pool and exclusion rationale | Editorials, letters, comments and single cases cannot be pivotal; lower-quality records are background/supportive only.
SOTA-STEP-004 | 4 | Where do endpoints come from? | Endpoints must be clinically meaningful and source-derived; they cannot be invented to fit the device claim. | 16 endpoint rows and 16 benchmark rows are mapped to guideline/meta-analysis/comparator/public clinical/source-document bases where available. | Endpoint extraction, endpoint source classification, guidelines, aggregate literature, comparator IFU/public reports | Endpoint source classification and safety/performance endpoint families | Endpoints with unknown source basis remain qualitative or PMCF/full-text requests.
SOTA-STEP-005 | 5 | Where do benchmark values come from? | Benchmark thresholds must reflect current aggregate clinical knowledge rather than a convenient single study. | Each benchmark records aggregate basis status, value/range, source evidence, CI/CI limitation and population context. | SOTA quantitative benchmark table, aggregate benchmark rationale, evidence synthesis matrix | SOTA criteria / acceptance standard table | A single isolated study may support context only unless limitation and downgraded conclusion language are explicit.
SOTA-STEP-006 | 6 | How does the product compare with the benchmark? | SOTA is useful only when it becomes the ruler for section 4.7 safety, performance and benefit-risk analysis. | The SOTA-to-4.7 usage matrix maps each benchmark to claim/GSPR analysis and requires product data, PMCF or gap-control comparison. | SOTA-to-4.7 usage matrix, risk/GSPR trace, endpoint extraction, PMS/PMCF or manufacturer data | Section 4.7 qualitative/quantitative comparison | If subject-device data are missing, the result is partial support or evidence gap, not favourable benefit-risk by assertion.
SOTA-STEP-007 | 7 | Why can the conclusion not exceed evidence strength? | MEDDEV/MDR clinical evaluation requires conclusions to match clinical data quantity, quality and applicability. | Current pivotal evidence count is 6; conclusion-strength guard records permitted wording by Oxford/evidence level and comparator availability. | Evidence registry, Oxford/CEBM level, contribution appraisal, conclusion-strength guard | Conclusion strength guard and controlled wording | No superiority/comparative overclaim is allowed without Level 1/2 evidence and a suitable comparator.